NB – CHECKLIST BELOW TO BE COMPLETED BY APPLICANT / REGISTERED PROFESSIONAL – Revised 21.07.11

| CHECKLIST FOR BUILDING PLAN SUBMISSION | YES | NO |
| --- | --- | --- |
| *SACAP Number and SACAP Registered Name | X |  |
| *SACAP compliance certificate to be attached | X |  |
| *SANS 10400 FORMS | X |  |
| *Plans to be signed and dated by Owner & Architectural Professional (if a Candidate have drawn up the plans, it must also be signed by a Registered mentor) | X |  |
| *3 Copies for ALL plan submissions | X |  |
| *2 copies are to be coloured in (Colours according to SABS 0400-1990) | X |  |
| *Registered Professional’s Drawing Checklist completed & signed | X |  |
| *Submission Fee paid – copy of receipt to be attached with invoice | X |  |
| Age of building ? Heritage Application required if building is older than 60yrs | X |  |
| *Submission forms to be filled in correctly providing all required information (including Owners contact details) and to be signed by Owner and Architectural Professional | X |  |
| Stormwater Management Plan is required when a floor plan (hardened footprint) of 100m² or more is shown. Engineers Certificate required |  |  |
| Appointed Engineers Certificate required where applicable. |  |  |
| Fire Protection Plan is required for any commercial building, public building or facility, i.e. Schools, shops, institutions, factories, hospitals, etc. |  |  |
| Departure forms / Consent forms where applicable, signed by owner and abutting owner providing all required information |  |  |
| Departure fee paid |  |  |
| Water Connections / Sewer Connections paid where applicable. Proof of payment required. |  |  |
| No Book Plans allowed – plans as per ISO Standards – A0,A1,A2,A3 | X |  |
| Only Recognized Drawings scales to be used –1:20,1:25,1:50,1:100,1:200, 1:500 etc. | X |  |

NB – Should any documentation be incomplete or omitted, where applicable, NO plan submissions will be accepted.

- FOR OFFICE USE ONLY -

Comments / Attachments: _______________________________________________________________________________________ _______________________________________________________________________________________ _______________________________________________________________________________________ _______________________________________________________________________________________

Checked By:

Date: